## Slide 1: Electric Utility Network Configuration Data Model Examples
Notes: Esri Corporate Template-Dark v3.4
16:9 version – January 29, 2017
For more templates, sample files, and icons, see https://compass.esri.com/resources/presentations/Pages/Main.aspx
To add footer text in Windows
On the Home tab, under Insert, click Text, and then click Header and Footer.
Click the Slide tab, select the Footer check box, and then type the footer text that you want.
Click either Apply or Apply to All.
To add footer text on a Mac
On the View menu, select Header and Footer.
Select the Footer check box and then type the footer text that you want.
Click either Apply or Apply to All.
If footers don't appear on the slides
If footers don't appear on title slides, in the Header and Footer dialog box make sure the Don't show on title slide check box is not selected.
If the footers are missing from other slides, the placeholders for these items might have been removed from specific slide layouts or the slide master.

## Slide 2: Introduction
This document is provided as a resource to:
  Visualize data modeling concepts in the Electric Utility Network Configuration
  Compare common asset representations in the geometric network with the Electric Utility Network Configuration
  Show simple and detailed methods of representing assets with the utility network

## Slide 3: Legend
Shape descriptions and terms used in the following diagram representations
Structure Junction
Assembly
Association
Line
Junction (domain)
Device
Table
Relationship
HV = High Voltage
LV = Low Voltage
Utility Network Diagrams
Geometric Network Diagrams
Point
Line
Table
Relationship
Container (Points to containing object)

## Slide 4
Also commonly referred to as a:
  Jawn
  Smurf
  *.*

## Slide 5: Overhead Primary Meter – Geometric Network Representation
Geometric Network Representation
Utility Pole
Represented as a point
Wire
Represented as a line
Relationship
Between Primary Meter and Utility Pole
Overhead Primary Meter
Represented as a point
Notes:
Blah
Blah
Blah

## Slide 6: Overhead Primary Meter
Utility Network Simple Representation
Utility Pole
Point in the Structure Network
Wire
Represented as a line
Tap
Represented as a point
Overhead Primary Meter
Represented as a point
Association
Structural Attachment
Notes:
Blah
Blah
Blah

## Slide 7: Overhead Primary Meter
Utility Network Detailed Representation
Electric Distribution Junction
Connection Point
Tap
Instrument Transformer
Represented as a point
Switch
Represented as a point
Meter/Controller
Represented as a point
B
A
C
B
A
C
Electric Junction
Electric Medium Junction Pole
Single Pole
Structural Attachment
Notes:
Blah
Blah
Blah
Electric Line
Medium Voltage
Underground Single Phase
Electric Line
Medium Voltage
Underground Single Phase

## Slide 8: Pad Mounted Single Phase Transformer
Geometric Network Representation
Pad Mounted Single Phase Transformer
Underground line
Underground line
Relationship
Between Transformer and Unit Table
Unit Table
Underground line
Notes:
Underground lines may be split at transformer

## Slide 9: Pad Mounted Single Phase Transformer
Utility Network Basic Representation
Electric Distribution Device
Transformer
Pad Mounted Single Phase
Electric Distribution Line
Medium Voltage
Underground Single Phase
Electric Line
Low Voltage
Underground Single Phase
Electric Distribution Line
Medium Voltage
Underground Single Phase

## Slide 10: Pad Mounted Single Phase Transformer
Utility Network Detailed Representation
FC: Electric Device
AG: Medium Voltage Elbow
AT: ??
Electric Distribution Assembly
Transformer Bank
Pad Mounted Single Phase
Electric Line
Medium Voltage
Underground Single Phase
FC: Electric Line
AG: Medium Voltage
AT: Underground Single Phase
Notes:
Can be multiple low voltage lines
Electric Line
Low Voltage
Underground Single Phase
Electric Distribution Device
Transformer
Pad Mounted Single Phase
Structure Junction
Electric Pad
Pad
FC: Electric Device
AG: Medium Voltage Elbow
AT: ??

## Slide 11: Overhead Single Phase Transformer
Geometric Network Representation
Overhead Single Phase Transformer
Overhead Line
Overhead Line
Relationship
Between Transformer and Unit Table
Unit Table
Overhead Line
Notes:
Overhead lines may be split at transformer
Relationship
Between Transformer and Pole
Pole

## Slide 12: Overhead Single Phase Transformer
Utility Network Basic Representation
FC: Electric Distribution Line
AG: Medium Voltage
AT: Overhead Single Phase/ Overhead Two Phase/ Overhead 3 Phase
FC: Electric Line
AG: Low Voltage
AT: Overhead Single Phase/ Overhead Two Phase
FC: Electric Junction
AG: Medium Voltage Connection Point
AT: Overhead Tap
Notes:
Electric Distribution Line is not broken at Connection Point
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Single Phase
FC: Electric Junction
AG: Low Voltage
AT: Overhead Single Phase/ Overhead Two Phase/ Overhead 3 Phase
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Overhead Single Phase

## Slide 13: Overhead Single Phase Transformer
Utility Network Detailed Representation
FC: Electric Distribution Line
AG: Medium Voltage
AT: Overhead Single Phase/ Overhead Two Phase/ Overhead 3 Phase
FC: Electric Line
AG: Low Voltage
AT: Overhead Single Phase/ Overhead Two Phase
FC: Electric Junction
AG: Medium Voltage Connection Point
AT: Overhead Tap
Notes:
Electric Distribution Line is not broken at Connection Point
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line Arrester
FC: Medium Voltage Fuse
AG: Medium Voltage Transformer
AT: Overhead Cutout Fused/ Overhead Cutout Solid Blade
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Single Phase
FC: Electric Junction
AG: Low Voltage
AT: Overhead Single Phase/ Overhead Two Phase/ Overhead 3 Phase
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Overhead Single Phase
FC: Electric Device
AG: Ground
AT: Rod

## Slide 14: Overhead Single Phase Transformer Hybrid Service
Utility Network Detailed Representation
FC: Electric Distribution Line
AG: Medium Voltage
AT: Overhead Single Phase/ Overhead Two Phase/ Overhead 3 Phase
FC: Electric Line
AG: Low Voltage
AT: Underground Duplex/ Underground Triplex
FC: Electric Junction
AG: Medium Voltage Connection Point
AT: Overhead Tap
Notes:
Electric Distribution Line is not broken at Connection Point
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line Arrester
FC: Medium Voltage Fuse
AG: Medium Voltage Transformer
AT: Overhead Cutout Fused/ Overhead Cutout Solid Blade
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Single Phase
FC: Electric Junction
AG: Low Voltage Riser
AT: Single Phase
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Overhead Single Phase
FC: Electric Device
AG: Ground
AT: Rod

## Slide 15: Overhead Three Phase Wye
Utility Network Detailed
FC: Electric Distribution Line
AG: Medium Voltage
AT: Overhead Single Phase/ Overhead Two Phase/ Overhead 3 Phase
FC: Electric Line
AG: Low Voltage
AT: Underground Duplex/ Underground Triplex
FC: Electric Junction
AG: Medium Voltage Connection Point
AT: Overhead Tap
Notes:
Electric Distribution Line is not broken at Connection Point
A
A
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line Arrester
B
FC: Medium Voltage Fuse
AG: Medium Voltage Transformer
AT: Overhead Cutout Fused/ Overhead Cutout Solid Blade
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Single Phase
A
FC: Electric Junction
AG: Low Voltage Line End
AT: Bare Wire/ Duplex/ Triplex/ Quadriplex
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Overhead Three Phase
FC: Electric Device
AG: Ground
AT: Rod
A
C
B
B
B
C
C
C

## Slide 16: Overhead Three Phase Delta
Utility Network Detailed
FC: Electric Distribution Line
AG: Medium Voltage
AT: Overhead Single Phase/ Overhead Two Phase/ Overhead 3 Phase
FC: Electric Line
AG: Low Voltage
AT: Underground Duplex/ Underground Triplex
FC: Electric Junction
AG: Medium Voltage Connection Point
AT: Overhead Tap
Notes:
Electric Distribution Line is not broken at Connection Point
A
A
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line Arrester
FC: Medium Voltage Fuse
AG: Medium Voltage Transformer
AT: Overhead Cutout Fused/ Overhead Cutout Solid Blade
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Single Phase
A
FC: Electric Junction
AG: Low Voltage Line End
AT: Bare Wire/ Duplex/ Triplex/ Quadriplex
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Overhead Three Phase
FC: Electric Device
AG: Ground
AT: Rod
B
B
B
C
C
C

## Slide 17: Overhead Three Phase Power Factor Correcting – Series or Shunt
Geometric Network Representation
Power Factor Correcting Equipment
Overhead Line
Overhead Line
Controller Unit Table
Notes:
Overhead lines may be split at power factor correcting equipment
Pole
Capacitor Unit Table
Capacitor Switch Unit Table

## Slide 18: Overhead Three Phase Power Factor Correcting – Series or Shunt
Utility Network Basic Representation
FC: Electric Distribution Line
AG: Medium Voltage
AT: Overhead Three Phase
FC: Electric Junction
AG: Medium Voltage Connection Point
AT: Overhead Tap
FC: Electric Device
AG: Medium Voltage Power Factor Connector
AT: Overhead Three Phase Capacitor
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Power Factor Correcting
AT: Overhead Three Phase Capacitor

## Slide 19: Overhead Three Phase Power Factor Correcting - Series
Utility Network Detailed Representation
FC: Electric Distribution Line
AG: Medium Voltage
AT: Overhead Three Phase
FC: Electric Junction
AG: Medium Voltage Connection Point
AT: Overhead Tap
Notes:
Electric Distribution Line is not broken at Connection Point
A
A
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line Arrester
FC: Medium Voltage Fuse
AG: Medium Voltage Transformer
AT: Overhead Cutout Fused/ Overhead Cutout Solid Blade
FC: Electric Device
AG: Medium Voltage Switch
AT: Overhead Single Phase
A
FC: Electric Device
AG: Medium Voltage Power Factor Connector
AT: Overhead One Phase Capacitor
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Power Factor Correcting
AT: Overhead Capacitor
FC: Electric Device
AG: Ground
AT: Rod
B
B
B
C
C
C
A
A
A
B
B
B
C
C
C
A
B
C
FC: Electric Device
AG: Medium Voltage Power Factor Connector
AT: Overhead Single Phase Capacitor
FC: Electric Device
AG: Medium Voltage Power Factor Connector
AT: Overhead Single Phase Capacitor
FC: Electric Device
AG: Medium Voltage Power Factor Connector
AT: Overhead Single Phase Capacitor
A
B
C
FC: Electric Device
AG: Medium Voltage Power Factor Connector
AT: Overhead Single Phase Reactor
FC: Electric Distribution
AG: Medium Voltage Controller
AT: Capacitor Controller

## Slide 20: Overhead Three Phase Power Factor Correcting - Shunt
Utility Network Detailed Representation
FC: Electric Distribution Line
AG: Medium Voltage
AT: Overhead Three Phase
FC: Electric Junction
AG: Medium Voltage Connection Point
AT: Overhead Tap
Notes:
Electric Distribution Line is not broken at Connection Point
A
A
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line Arrester
FC: Medium Voltage Fuse
AG: Medium Voltage Transformer
AT: Overhead Cutout Fused/ Overhead Cutout Solid Blade
FC: Electric Device
AG: Medium Voltage Switch
AT: Overhead Single Phase
A
FC: Electric Device
AG: Medium Voltage Power Factor Connector
AT: Overhead One Phase Capacitor
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Power Factor Correcting
AT: Overhead Capacitor
FC: Electric Device
AG: Ground
AT: Rod
B
B
B
C
C
C
A
A
A
B
B
B
C
C
C
A
B
C
A
B
C
FC: Electric Device
AG: Medium Voltage Power Factor Connector
AT: Overhead Single Phase Reactor
FC: Electric Distribution
AG: Medium Voltage Controller
AT: Capacitor Controller

## Slide 21: Overhead Medium Voltage Three Phase Line Fuse
Geometric Network Representation
Fuse
Overhead Three Phase
Overhead Three Phase
Pole
Fuse Unit Table

## Slide 22: Overhead Medium Voltage Three Phase Line Fuse
Utility Network Basic Representation
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Junction
AG: Line End
AT: Medium Voltage Line End
FC: Electric Junction
AG: Line End
AT: Medium Voltage Line End
FC: Electric Device
AG: Medium Voltage Fuse
AT: Overhead Cutout Fused Load Break
FC: Electric Assembly
AG: Medium Voltage Fuse Bank
AT: Overhead Load Break Disconnect
FC: Electric Line
AG: Medium Voltage Connector
AT: Overhead Three Phase
FC: Electric Line
AG: Medium Voltage Connector
AT: Overhead Three Phase

## Slide 23: Overhead Medium Voltage Three Phase Line Fuse
Utility Network Detailed Representation
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Junction
AG: Line End
AT: Medium Voltage Line End
FC: Electric Junction
AG: Line End
AT: Medium Voltage Line End
FC: Electric Device
AG: Medium Voltage Fuse
AT: Overhead Cutout Fused Load Break
FC: Electric Assembly
AG: Medium Voltage Fuse Bank
AT: Overhead Load Break Disconnect
FC: Electric Line
AG: Medium Voltage Connector
AT: Overhead Three Phase
FC: Electric Line
AG: Medium Voltage Connector
AT: Overhead Three Phase
FC: Electric Device
AG: Medium Voltage Fuse
AT: Overhead Cutout Fused Load Break

## Slide 24: Overhead Medium Voltage Three Phase Line Switch
Geometric Network Representation
Switch
Overhead Three Phase
Overhead Three Phase
Pole
Switch Unit Table

## Slide 25: Overhead Medium Voltage Three Phase Line Switch
Utility Network Basic Representation
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Junction
AG: Line End
AT: Medium Voltage Line End
FC: Electric Junction
AG: Line End
AT: Medium Voltage Line End
FC: Electric Device
AG: Medium Voltage Switch
AT: Overhead Three Phase Switch
FC: Electric Assembly
AG: Medium Voltage Switch Bank
AT: Overhead Three Phase Switch
FC: Electric Line
AG: Medium Voltage Connector
AT: Overhead Three Phase
FC: Electric Line
AG: Medium Voltage Connector
AT: Overhead Three Phase

## Slide 26: Overhead Medium Voltage Three Phase Line Switch
Utility Network Detailed Representation
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Junction
AG: Line End
AT: Medium Voltage Line End
FC: Electric Junction
AG: Line End
AT: Medium Voltage Line End
FC: Electric Line
AG: Medium Voltage Connector
AT: Overhead Three Phase
FC: Electric Line
AG: Medium Voltage Connector
AT: Overhead Three Phase
FC: Electric Device
AG: Medium Voltage Switch
AT: Overhead Three Phase Switch
FC: Electric Assembly
AG: Medium Voltage Switch Bank
AT: Overhead Three Phase Switch
FC: Electric Device
AG: Medium Voltage Switch
AT: Overhead Three Phase Switch

## Slide 27: Overhead Fused Tap
Geometric Network Representation
Overhead
Overhead
Overhead Fused Tap
Overhead

## Slide 28: Overhead Fused Tap
Utility Network Basic Representation
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Three Phase
FC: Electric Junction
AG: Connection Point
AT: Overhead Tap
FC: Electric Junction
AG: Connection Point
AT: Overhead Tap
FC: Electric Line
AG: Medium Voltage Connector
AT: Overhead Three Phase
FC: Electric Line
AG: Medium Voltage Connector
AT: Overhead Three Phase
FC: Electric Assembly
AG: Medium Voltage Fuse Bank
AT: Overhead Cutout

## Slide 29: Underground Fused Tap
Geometric Network Representation
Underground
Underground
Underground Fused Tap
Underground

## Slide 30: Underground Fused Tap
Utility Network Basic Representation
FC: Electric Line
AG: Medium Voltage Conductor
AT: Undeground Three Phase
FC: Electric Junction
AG: Connection Point
AT: Underground Tap
FC: Electric Junction
AG: Connection Point
AT: Underground Tap
FC: Electric Line
AG: Medium Voltage Connector
AT: Underground Three Phase
FC: Electric Line
AG: Medium Voltage Connector
AT: Underground Three Phase
FC: Electric Assembly
AG: Medium Voltage Fuse Bank
AT: Underground Cutout

## Slide 31: Overhead Single Phase Transformer Delta
Utility Network Detailed
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Single Phase
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Two phase or Three phase
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line Arrester
FC: Electric Device
AG: Medium Voltage Fuse
AT: Overhead Cutout Fused
FC: Electric Junction
AG: Medium Voltage Connection Point
AT: Overhead tap
FC: Electric Junction
AG: : Low Voltage Line End
AT: Overhead Line End
FC: Electric Line
AG: Low Voltage Conductor
AT: Overhead Duplex or Triplex
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Overhead Three Phase
FC: Electric Device
AG: Ground
AT: Rod
A
B
A
B
Notes:
For the Medium Voltage Fuse, the asset type can be:
  Overhead Cutout Fused Disconnect
  Overhead Cutout Fused Load Break
  Overhead Cutout Sectionalizer
  Overhead Cutout Solid Blade

## Slide 32: Overhead Single Phase Transformer Delta with Hybrid Service
Utility Network Detailed
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Single Phase
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Two phase or Three phase
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line Arrester
FC: Electric Device
AG: Medium Voltage Fuse
AT: Overhead Cutout Fused
FC: Electric Junction
AG: Medium Voltage Connection Point
AT: Overhead tap
FC: Electric Junction
AG: : Low Voltage Line End
AT: Underground Terminator
FC: Electric Line
AG: Low Voltage Conductor
AT: Underground Duplex or Triplex
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Overhead Three Phase
FC: Electric Device
AG: Ground
AT: Rod
A
B
A
B
Notes:
For the Medium Voltage Fuse, the asset type can be:
  Overhead Cutout Fused Disconnect
  Overhead Cutout Fused Load Break
  Overhead Cutout Sectionalizer
  Overhead Cutout Solid Blade

## Slide 33: Overhead Three Phase Regulator
Geometric Network Representation
Notes:
Pole
Voltage Regulator
Overhead Three Phase Line
Regulator Unit
Regulator Control

## Slide 34: Overhead Three Phase Regulator Wye
Utility Network Detailed
FC: Electric Device
AG: Medium Voltage Fuse
AT: Overhead Cutout Fused
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Three Phase
FC: Electric Device
AG: Medium Voltage Switch
AT: Overhead Bypass
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line
FC: Electric Junction
AG: Medium Voltage Line End
AT: Overhead Three Phase
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Regulator
AT: Overhead Three Phase
C
B
A
B
A
A
C
C
B
B
A
A
C
C
B
C
B
A
FC: Electric Junction
AG: Connection point
AT: Overhead tap
FC: Electric Junction
AG: Connection point
AT: Overhead tap
FC: Electric Device
AG: Ground
AT: Rod
FC: Electric Device
AG: Medium Voltage Regulator
AT: Overhead Single Phase
FC: Electric Device
AG: Medium Voltage Controller
AT: Regulator
Notes:
For the Medium Voltage Fuse, the asset type can be:
  Overhead Cutout Fused Disconnect
  Overhead Cutout Fused Load Break
  Overhead Cutout Sectionalizer
  Overhead Cutout Solid Blade

## Slide 35: Overhead Three Phase Regulator Delta
Utility Network Detailed
FC: Electric Device
AG: Medium Voltage Fuse
AT: Overhead Cutout Fused
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Three Phase
FC: Electric Device
AG: Medium Voltage Switch
AT: Overhead Bypass
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line
FC: Electric Junction
AG: Medium Voltage Line End
AT: Overhead Three Phase
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Regulator
AT: Overhead Three Phase
C
B
A
B
A
A
C
C
B
B
A
A
C
C
B
CA
BC
AB
FC: Electric Junction
AG: Connection point
AT: Overhead tap
FC: Electric Junction
AG: Connection point
AT: Overhead tap
FC: Electric Device
AG: Ground
AT: Rod
FC: Electric Device
AG: Medium Voltage Regulator
AT: Overhead Single Phase
FC: Electric Device
AG: Medium Voltage Controller
AT: Regulator
Notes:
For a Medium Voltage Fuse, the asset type can be:
  Overhead Cutout Fused Disconnect
  Overhead Cutout Fused Load Break
  Overhead Cutout Sectionalizer
  Overhead Cutout Solid Blade

## Slide 36: Overhead Three Phase Step Transformer Wye
Geometric Network Representation
Notes:
Pole
Overhead Three Phase Step Down Transformer
Overhead Three Phase Line
Transformer Unit
Relationship
Between Transformer and Transformer Unit Table

## Slide 37: Overhead Three Phase Step Transformer Wye
Utility Network Detailed
FC: Electric Device
AG: Medium Voltage Fuse
AT: Overhead Cutout Fused
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Three Phase
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line
FC: Electric Junction
AG: Medium Voltage Line End
AT: Overhead Three Phase
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Overhead Step Three Phase Wye
C
B
A
C
B
A
C
B
A
C
B
A
FC: Electric Junction
AG: Connection point
AT: Overhead Tap
FC: Electric Junction
AG: Connection point
AT: Overhead Tap
FC: Electric Device
AG: Ground
AT: Rod
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Step Single Phase
x KV
y KV
Notes:
For the Medium Voltage Fuse, the asset type can be:
  Overhead Cutout Fused Disconnect
  Overhead Cutout Fused Load Break
  Overhead Cutout Sectionalizer
  Overhead Cutout Solid Blade

## Slide 38: Overhead Three Phase Step Transformer Delta
Utility Network Detailed
FC: Electric Device
AG: Medium Voltage Fuse
AT: Overhead Cutout Fused
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Three Phase
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line
FC: Electric Junction
AG: Medium Voltage Line End
AT: Overhead Three Phase
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Overhead Step Three Phase Wye
C
B
A
C
B
A
C
B
A
CA
BC
AB
FC: Electric Junction
AG: Connection point
AT: Overhead Tap
FC: Electric Junction
AG: Connection point
AT: Overhead Tap
FC: Electric Device
AG: Ground
AT: Rod
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Step Single Phase
x KV
y KV
Notes:
For the Medium Voltage Fuse, the asset type can be:
  Overhead Cutout Fused Disconnect
  Overhead Cutout Fused Load Break
  Overhead Cutout Sectionalizer
  Overhead Cutout Solid Blade

## Slide 39: Pad Mounted Step Transformer
Geometric Network Representation
Notes:
Pad Mounted Three Phase Transformer
Underground Three Phase Line
Transformer Unit
Relationship
Between Transformer and Transformer Unit Table

## Slide 40: Pad Mounted Step Transformer
Utility Network Detailed
FC: Electric Device
AG: Medium Voltage Elbow
AT: Single Phase
FC: Electric Line
AG: Medium Voltage Conductor
AT: Underground Three Phase
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator
C
B
A
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Underground Three Phase
C
B
A
C
B
A
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator
FC: Electric Device
AG: Medium Voltage Fusel
AT: Bayonet
FC: Electric Device
AG: Medium Voltage Elbow
AT: Single Phase
FC: Electric Device
AG: Medium Voltage Transformer
AT: Pad Mounted Step Three Phase

## Slide 41: Pad Mounted Three Phase Regulator
Utility Network Detailed
FC: Electric Device
AG: Medium Voltage Elbow
AT: Single Phase
FC: Electric Line
AG: Medium Voltage Conductor
AT: Underground Three Phase
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator
C
B
A
FC: Electric Assembly
AG: Medium Voltage Regulator Bank
AT: Underground Three Phase
C
B
A
C
B
A
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator
FC: Electric Device
AG: Medium Voltage Fusel
AT: Bayonet
FC: Electric Device
AG: Medium Voltage Elbow
AT: Single Phase
FC: Electric Device
AG: Medium Voltage Regulator
AT: Pad Mounted Three Phase
FC: Electric Device
AG: Medium Voltage Controller
AT: Regulator

## Slide 42: Pad Mounted Switchgear
Geometric Network Representation
Underground Three Phase Line
Switch
Fuse
Fuse
Fuse
Underground Three Phase Line
Underground Single Phase Line
Underground Single Phase Line
Underground Single Phase Line

## Slide 43: Pad Mounted Switchgear
Notes:
FC: Electric Line
AG: Medium Voltage Busbar
AT: Cabinet Single Phase
Utility Network Detailed
FC: Electric Device
AG: Medium Voltage Elbow
AT: Single Phase
FC: Electric Line
AG: Medium Voltage Conductor
AT: Underground Three Phase
C
B
A
FC: Electric Assembly
AG: Medium Voltage Switch Bank
AT: Pad Mounted
C
B
A
C
B
A
FC: Electric Device
AG: Medium Voltage Fuse
AT: Pad Mounted
FC: Electric Device
AG: Medium Voltage Switch
AT: Pad Mounted Switch
C
B
A
C
B
A
C
B
A
C
B
A
C
B
A
FC: Electric Line
AG: Medium Voltage Conductor
AT: Underground Three Phase
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator
FC: Electric Device
AG: Medium Voltage Elbow
AT: Single Phase
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator
FC: Electric Line
AG: Medium Voltage Conductor
AT: Underground Single Phase
FC: Electric Line
AG: Medium Voltage Conductor
AT: Underground Three Phase
FC: Electric Line
AG: Medium Voltage Conductor
AT: Underground Three Phase
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator
FC: Electric Junction
AG: Electric Bay
AT: Cabinet Bay

## Slide 44: Overhead Three Phase Open Delta Transformer
Geometric Network Configuration
Overhead Three Phase Open Delta Transformer
Overhead Three Phase
Overhead Three Phase
Pole
Unit Table
Low Voltage

## Slide 45: Overhead Three Phase Open Delta Transformer
Utility Network Basic Representation
FC: Electric Junction
AG: Medium Voltage Connection Point
AT: Overhead Tap
Notes:
Electric Distribution Line is not broken at Connection Point
FC: Electric Device
AG: Medium Voltage Transformer
AT: ????
FC: Electric Junction
AG: Low Voltage Connector
AT: Overhead Line End
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Three Phase
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Overhead Three Phase Open Delta
FC: Electric Line
AG: Low Voltage Conductor
AT: Quadriplex

## Slide 46: Overhead Three Phase Open Delta Transformer
Utility Network Detailed Representation
FC: Electric Distribution Line
AG: Medium Voltage
AT: Overhead Single Phase/ Overhead Two Phase/ Overhead 3 Phase
FC: Electric Line
AG: Low Voltage Conductor
AT: Overhead Quadriplex
FC: Electric Junction
AG: Medium Voltage Connection Point
AT: Overhead Tap
Notes:
Electric Distribution Line is not broken at Connection Point
A
A
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line Arrester
B
FC: Electric Device
AG: Medium Voltage Fuse
AT: Cutout Fused
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Single Phase
FC: Electric Junction
AG: Low Voltage Line End
AT: Overhead Line End
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Overhead Three Phase Open Delta
FC: Electric Device
AG: Ground
AT: Rod
A
C
B
B
C
C

## Slide 47: Overhead Step Three Phase Open Delta Transformer
Utility Network Detailed Representation
FC: Electric Distribution Line
AG: Medium Voltage
AT: Overhead Single Phase/ Overhead Two Phase/ Overhead 3 Phase
FC: Electric Junction
AG: Medium Voltage Connection Point
AT: Overhead Tap
Notes:
Electric Distribution Line is not broken at Connection Point
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line Arrester
FC: Electric Device
AG: Medium Voltage Fuse
AT: Cutout Fused
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Single Phase
FC: Structure Junction
AG: Electric Pole
AT: Single Pole
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Overhead Three Phase Open Delta
FC: Electric Device
AG: Ground
AT: Rod
B
C
A
C
B
A
A
B
C
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Single Phase
FC: Electric Junction
AG: Medium Voltage Connection Point
AT: Overhead Tap

## Slide 48: Pad Mounted Three Phase Open Delta Transformer
Geometric Network Configuration
Pad Mounted Three Phase Open Delta Transformer
Underground Three Phase
Unit Table
Low Voltage

## Slide 49: Pad Mounted Three Phase Open Delta Transformer
Utility Network Basic Representation
Notes:
Electric Distribution Line is not broken at Connection Point
FC: Electric Device
AG: Medium Voltage Transformer
AT: ????
FC: Electric Junction
AG: Low Voltage Connector
AT: Line End/Terminator
FC: Electric Line
AG: Medium Voltage Conductor
AT: Underground Three Phase
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Pad Mounted Three Phase Open Delta
FC: Electric Line
AG: Low Voltage Conductor
AT: Underground Quadriplex
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator

## Slide 50: Pad Mounted Three Phase Open Delta Transformer
Utility Network Detailed Representation
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator
FC: Electric Line
AG: Medium Voltage Conductor
AT: Underground Three Phase
FC: Electric Assembly
AG: Medium Voltage Transformer Bank
AT: Pad Mounted Three Phase Open Delta
FC: Electric Line
AG: Low Voltage Conductor
AT: Underground Quadriplex
FC: Electric Device
AG: Single Phase Elbow
AT: Load Break
FC: Electric Device
AG: Medium Voltage Transformer
AT: Pad Mounted Single Phase
A
B
AC
C
C
BC
FC: Electric Junction
AG: Low Voltage Connector
AT: Line End/Terminator

## Slide 51: Overhead Three Phase Recloser
Geometric Network Representation
Notes:
Overhead Three Phase Recloser
Overhead Three Phase Line
Recloser Unit
Relationship
Between Recloser and Recloser Unit Table
Controller Unit
FC: Electric Device
AG: Medium Voltage Pole
AT: Single Pole

## Slide 52: Overhead Three Phase Recloser
Utility Network Basic
Notes:
Line is broken at the Overhead Three Phase Recloser device.
Electric Device Unit
Relationship
Between Electric Device and Electric Device Unit
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Three Phase
FC: Electric Device
AG: Medium Voltage Pole
AT: Single Pole
FC: Electric Device
AG: Medium Voltage Switch
AT: Overhead Three Phase Recloser

## Slide 53: Overhead Three Phase Recloser
Utility Network Detailed
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Three Phase
C
B
A
FC: Electric Assembly
AG: Medium Voltage Switch Bank
AT: Overhead Three Phase Recloser
C
B
A
C
B
A
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line
FC: Electric Device
AG: Medium Voltage Switch
AT: Overhead One Phase Recloser
FC: Electric Junction
AG: Connection point
AT: Overhead Tap
FC: Electric Junction
AG: Connection point
AT: Overhead Tap
FC: Electric Junction
AG: Medium Voltage Line End
AT: Overhead Line End
FC: Electric Junction
AG: Medium Voltage Line End
AT: Overhead Line End
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Single Phase
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Single Phase
FC: Electric Device
AG: Medium Voltage Controller
AT: Recloser
Power Phase A
Phase B Reverse Power
FC: Electric Device
AG: Medium Voltage Pole
AT: Single Pole
A
B
C
A
B
C

## Slide 54: Overhead Three Phase Recloser
Utility Network Detailed
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Three Phase
C
B
A
FC: Electric Assembly
AG: Medium Voltage Switch Bank
AT: Overhead Three Phase Recloser
C
B
A
C
B
A
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line
FC: Electric Device
AG: Medium Voltage Switch
AT: Overhead One Phase Recloser
FC: Electric Junction
AG: Connection point
AT: Overhead Tap
FC: Electric Junction
AG: Connection point
AT: Overhead Tap
FC: Electric Junction
AG: Medium Voltage Line End
AT: Overhead Line End
FC: Electric Junction
AG: Medium Voltage Line End
AT: Overhead Line End
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Single Phase
FC: Electric Device
AG: Medium Voltage Transformer
AT: Overhead Single Phase
FC: Electric Device
AG: Medium Voltage Controller
AT: Regulator
Power Phase A
Phase B Reverse Power

## Slide 55: Overhead Three Phase Regulator (three poles)
Geometric Network Representation
Notes:
Overhead Three Phase Regulator
Underground Three Phase Line
Regulator Unit
Relationship
Between Transformer and Transformer Unit Table
Pole
Pole
Pole
Overhead Three Phase Regulator
Overhead Three Phase Regulator

## Slide 56: Overhead Three Phase Regulator (three poles)
Utility Network Detailed
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Three Phase
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator
FC: Electric Assembly
AG: Medium Voltage Regulator Bank
AT: Underground Three Phase
FC: Electric Device
AG: Medium Voltage Fuse
AT: Overhead Cutout
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator
Phase A
Phase B
Phase C
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line
FC: Electric Device
AG: Medium Voltage Regulator
AT: Overhead Single Phase
FC: Electric Device
AG: Medium Voltage Switch
AT: Overhead Bypass
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line
Notes:
Phase B and Phase C sections contain the same configuration of assets as Phase A.

## Slide 57: Pad Mounted Single Phase Fuse Bank
Geometric Network Representation
Notes:
Fuse
Underground Single Phase Line

## Slide 58: Pad Mounted Single Phase Fuse Bank
Utility Network Detailed
FC: Electric Device
AG: Medium Voltage Elbow
AT: Single Phase Load Break
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Three Phase
FC: Electric Device
AG: Medium Voltage Fusel
AT: Bayonet
FC: Electric Assembly
AG: Medium Voltage Fuse Bank
AT: Pad Mounted Single Phase
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator
FC: Electric Device
AG: Medium Voltage Elbow
AT: Single Phase Load Break

## Slide 59: Overhead Three Phase Regulator Open Delta
Geometric Network Representation
Notes:
Overhead Three Phase Regulator Open Delta
Overhead Three Phase Line
Relationship
Between Regulator and Regulator Unit Table
Pole

## Slide 60: Overhead Three Phase Regulator Open Delta
Utility Network Basic
FC: Electric Assembly
AG: Medium Voltage Regulator Bank
AT: Overhead Three Phase
Overhead Three Phase Regulator Open Delta
Relationship
Between Regulator and Regulator Unit Table
Pole
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Three Phase

## Slide 61: Overhead Three Phase Regulator Open Delta
Utility Network Detailed
FC: Electric Line
AG: Medium Voltage Conductor
AT: Overhead Three Phase
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator
C
B
A
FC: Electric Assembly
AG: Medium Voltage Regulator Bank
AT: Overhead Three Phase
C
B
A
C
B
A
FC: Electric Junction
AG: Medium Voltage Line End
AT: Terminator
FC: Electric Device
AG: Medium Voltage Controller
AT: Regulator
C
B
A
C
B
A
AB
BC
FC: Electric Junction
AG: Connection point
AT: Overhead Tap
FC: Electric Junction
AG: Connection point
AT: Overhead Tap
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line
FC: Electric Device
AG: Medium Voltage Fuse
AT: Overhead Cutout
FC: Electric Device
AG: Medium Voltage Switch
AT: Overhead Bypass
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line
FC: Electric Device
AG: Medium Voltage Arrester
AT: Line