## Distribution
Diagram Name | Description | Status | Folder Name
Bank of Services
Mesh Network Protectory
Overhead Fused Single Phase Tap
Overhead Fused Three Phase Tap |  | "PPT Update"
Overhead Fused Two Phase Tap
Overhead Medium Voltage Three Phase Line Fuse |  | "PPT Update"
Overhead Medium Voltage Three Phase Line Switch |  | "PPT Update"
Overhead Primary Meter | An example of a Overheaed Primary Meter, with optional fuses and arresters | "PPT Update"
Overhead Primary Meter Interconnect to other utility
Overhead Single Phase Capacitor, single unit, Fixed
Overhead Single Phase Capacitor, single unit, switched
Overhead Single Phase Open Point, Not jumpered
Overhead Single Phase Recloser, feed from distribution transformer
Overhead Single Phase Sectionalizer
Overhead Single Phase Transformer | This is a case where a Overhead Single Phase Transformer is feeding the services using overhead low voltage | "PPT Update"
Overhead Single Phase with Bell Jumper at Double Dead End
Overhead Single Phase Wye Transformer Hybrid Service | This is a case where a Overhead Single Phase Transformer is feeding the services using underground low voltage | "PPT Update"
Overhead Step Three Phase Open Delta Transformer |  | "PPT Update"
Overhead Three Phase Capacitor, series, Fixed
Overhead Three Phase Capacitor, series, Switched
Overhead Three Phase Capacitor, shunt, Fixed
Overhead Three Phase Capacitor, shunt, Switched
Overhead Three Phase Capacitor, single unit, Fixed
Overhead Three Phase Capacitor, single unit, Switched
Overhead Three Phase Delta/Delta | An example of a distribution transformer delivering three phase power using three overhead single phase delta transformer units
Overhead Three Phase Delta/Wye | An example of a distribution transformer delivering three phase power using three overhead single phase delta transformer units | "PPT Update"
Overhead Three Phase Open Delta Transformer |  | "PPT Update"
Overhead Three Phase Open Point, Not jumpered
Overhead Three Phase Recloser, feed from distribution transformer on both side
Overhead Three Phase Recloser, feed from included transformer on both side
Overhead Three Phase Recloser, low voltage connection to two distribution transformers on other poles
Overhead Three Phase Recloser, with dual transformers |  | "PPT Update"
Overhead Three Phase Regulator (three poles) |  | "PPT Update"
Overhead Three Phase Regulator Delta |  | "PPT Update"
Overhead Three Phase Regulator Open Delta |  | "PPT Update"
Overhead Three Phase Regulator, Platform |  | "PPT Update"
Overhead Three Phase Regulator, Single Pole
Overhead Three Phase Sectionalizer
Overhead Three Phase Sectionalizer, using distribuiton Transformer
Overhead Three Phase Sectionalizer, with Transformer
Overhead Three Phase Step Transformer Delta |  | "PPT Update"
Overhead Three Phase Step Transformer Open Delta
Overhead Three Phase Step Transformer Wye |  | "PPT Update"
Overhead Three Phase with Bell Jumper at Double Dead End
Overhead Three Phase Wye/Delta | An example of a distribution transformer delivering three phase power using three overhead single phase wye transformer units
Overhead Three Phase Wye/Wye | An example of a distribution transformer delivering three phase power using three overhead single phase wye transformer units | "PPT Update"
Overhead Three Phase Wye/Wye | An example of a Overhead Three Phase Transformer where the street lights are feed from one transformer.
Overhead Three Phase, Single Unit | An example of a distribution transformer delivering three phase power using a single overhead three phase wye transformer unit | "Rough Sketch"
Overhead Two Phase Sectionalizer
Overhead unfused Single Phase Flying Tap
Overhead unfused Single Phase Tap
Overhead unfused Three Phase Flying Tap
Overhead unfused Three Phase Tap
Overhead unfused Two Phase Flying Tap
Overhead unfused Two Phase Tap
Pad Mounted MOST-9
Pad Mounted Primary Meter
Pad Mounted Single Phase Capacitor
Pad Mounted Single Phase Fuse Bank |  | "PPT Update"
Pad Mounted Single Phase Transformer - Busbar | An example of a Pad Mounted Single Phase Transformer, including Elbows, High Side Busbar and Low Side Busbar
Pad Mounted Single Phase Transformer - Delta | An example of a Pad Mounted Single Phase Transformer, including Elbows
Pad Mounted Single Phase Transformer - Wye | An example of a Pad Mounted Single Phase Transformer, including Elbows | "PPT Update"
Pad Mounted Single Phase Transformer - Wye with one elbow open
Pad Mounted Source Transformer - PST9
Pad Mounted Step Three Phase Transformer |  | "PPT Update"
Pad Mounted Switchgear - MOST10,PME10,PMH10, 4 sets of switches
Pad Mounted Switchgear - MOST11,PME11,PMH11, 1 set of fuses, 3 set of switches
Pad Mounted Switchgear - MOST12,PME12,PMH12, 3 set of fuses, 1 set of switches
Pad Mounted Switchgear - MOST14, 1 fuse, 2 switches, 1 hot bay
Pad Mounted Switchgear - MOST15, 3 fuses
Pad Mounted Switchgear - MOST3,PMH3, 1 set of switches
Pad Mounted Switchgear - MOST4,PME4,PMH4, 1 set of fuses
Pad Mounted Switchgear - MOST5,PME5,PMH5, 1 set of fuses, 1 set of switches |  | "PPT Update"
Pad Mounted Switchgear - MOST6,PME6,PMH6, 1 set of fuses, 2 set of switches
Pad Mounted Switchgear - MOST7,PMH7, 2 set of fuses, 1 set of switches
Pad Mounted Switchgear - MOST8,PMH8, 2 set of fuses, 1 set of switches, empty hot bay
Pad Mounted Switchgear - MOST9,PME9,PMH9, 2 set of fuses, 2 set of switches
Pad Mounted Switchgear - MOST9,PME9,PMH9, 2 set of fuses, 2 set of switches, Remote SC
Pad Mounted Switchgear - PME13,PMH13, 3 sets of switches, empty hot bay
Pad Mounted Switchgear - PMH19, 3 sets of switches, parallel bus
Pad Mounted Three Phase Capacitor, Series
Pad Mounted Three Phase Capacitor, Shunt
Pad Mounted Three Phase Capacitor, Single
Pad Mounted Three Phase Fuse Cabinet
Pad Mounted Three Phase Open Delta Transformer
Pad Mounted Three Phase Regulator |  | "PPT Update"
Pad Mounted Three Phase Transformer
Pad Mounted Three Phase Transformer with Automatic Throw Over switch
Pad Mounted Three Phase Transformer, with feeds to transformers
Pad Mounted Three Phase Transformer, with internal busbar
Pad Mounted Three Sectionalizer
Spot Network
Standard Overhead Service
Standard Undergound Service
Underground Fused Single Phase Tap from Overhead
Underground Fused Three Phase Tap from Overhead |  | "PPT Update"
Underground Fused Two Phase Tap from Overhead
Underground Junction Box
Overhead Fault Indicator
Pole Supporting Single Distribution Circuit
Pole Supporting Two Distribution Circuits
Pole Supporting Three Distribution Circuits
Pole Supporting Four Distribution Circuits
Pole Supporting Single Distribuiton Circuit & Transmission Circuit
Pole Supporting Single Distribuiton Circuit & SubTransmission Circuit
Pole Supporting Single Distribution Circuit & Low Voltage
Rooftop Solar
Three Phase Pump
Solar Farm

## Distribution Substation
Diagram Name | Description | Status | Folder Name
Distribution Substation Buswork, with Bypass switches
Distribution Substation with Capacitor Bank
Underground Distribution Substation with Bypass Switches

## Transmission Tier
Diagram Name | Description | Status | Folder Name
Tower supporting Single Circuit
Tower supporting Two Circuit
Tower supporting Three Circuit

## SubTransmission
Diagram Name | Description | Status | Folder Name
Tower supporting Single Circuit
Tower supporting Two Circuit
Tower supporting Three Circuit
Tower supporting Single Circuit & Tap
Single Pole with Tap and Switch

## SubTransmission Station
Diagram Name | Description | Status | Folder Name
Step down Station

## Transmission Station
Diagram Name | Description | Status | Folder Name
DC to AC Conversion Station
AC Switching Station

## Generation Station
Diagram Name | Description | Status | Folder Name
Two Generation Turbines with Step Up Transformer
DC Hydro Station with Step up Transformer
Wind Farm to Station with Step up